# Stuart – UK SC6+ Colony Counter

## Product Description

The Stuart SC6+ Colony Counter is designed for fast, accurate, and reliable counting of bacterial and mould colonies. It is ideal for microbiology laboratories, quality control, food, pharmaceutical, and research applications.

## Key Features

Touch Pressure Counting System: Counts are registered by touching the Petri dish with a felt-tip marker. Each count is displayed on the digital screen with audible confirmation (sound can be enabled or disabled). Touch sensitivity is adjustable to suit different users.

Averaging Function: Calculates the average count over multiple plates. Results and statistical data (including standard deviation) can be exported to a printer or PC via the supplied USB cable.

LED Sub-stage Illumination: Bright low-energy white LED illumination provides glare-free, clear viewing of colonies.

Enhanced Viewing Background: Switchable black background improves visibility of translucent and difficult-to-see colonies.

Accessories Included: Supplied with two Wolffhuegel graticules and dish centering adapters for 50 mm to 90 mm Petri dishes.

Optional Accessories: Additional magnifiers and external printer available.

## Technical Specifications

Lighting: White LED array

Display: 3-digit LED digital display

Counting Range: 0 – 999 colonies

Dimensions (W × D × H): 310 × 300 × 140 mm

Net Weight: 1.5 kg

Power Supply: 120–230 V, 50/60 Hz

Power Consumption: 70 W